	National Tuberculosis and Leprosy Control Program

National TB Refence Laboratory

	Code: PT008 F2
	Version: 1.0
	Effective date: 
23-Aug-2017
	Authorized by: 

Lab Manager



Participant Biosafety Compliance Letter agreement between Proficiency Testing provider-Uganda NTRL and PT Participant
Year: xxxx
Objective: In the setting of quality management system practices, this letter of agreement is to ensure that the requestor understands and complies with the biosafety guidelines for working with viable strains of Mycobacterium tuberculosis Complex as outlined in international and local guidelines. 

An authorized representative of Laboratory must sign and date this letter agreement and send scanned or hard copy to Uganda NTRL/SRL PT scheme manager.  The PT provider PT scheme will only ship isolates to sites meeting applicable biosafety containment. The requestor will be notified if isolates cannot be shipped by 31 March of every new year. 

Note: This is an annual form and must be submitted by 31/3/xxxx
Recommended Laboratory Facilities, Equipment and Practices:
Manipulations of viable strains of M. tuberculosis must be performed in a Biosafety Level 3 (BSL-3) laboratory* that meets the following criteria:
· Facility 
· Restricted access to the laboratory with a series of two self-closing doors 

· Seams, walls, and ceiling are sealed and easy to clean and decontaminate 

· Laboratory exhaust air is not re-circulated to any other area of the building 
· Certified ventilation system if availbale
· A sink is available for hand washing 
· An eyewash station is available 

· The laboratory is equipped with a Class II-A1 or II-A2 Biological Safety Cabinet (BSC) that is re-certified annually
· Centrifuge with biosafety canisters/lids
· Serviced or certified waste decontamination equipment i.e. autoclaves
· Standard Microbiological Practices 
· A risk assessment for working with M. tuberculosis in the laboratory has been completed 

· Biosafety is addressed in laboratory protocols using the requested organism 

· Laboratory personnel are knowledgeable about hazards of working with M. tuberculosis and demonstrate proficiency in laboratory procedures 

· BSL-3 personal protective equipment (PPE) is used based on risk assessment of laboratory procedures and practices. 
· Availability of N95, FFP2, or equivalent respirators and relevant training on Use.
· All procedures involving manipulation of viable strains of M. tuberculosis are conducted in a BSC or other physical containment devices
· Disinfect the BSC and all work surfaces with a tuberculocidal disinfectant (capable of killing MTB), before and after every procedure
· Decontamination of laboratory waste must be available in the facility, preferably within the laboratory (e.g., autoclave, chemical disinfection, or other validated decontamination method).
· Well detailed spill management procedure and materials.
References: WHO Biosafety Manual 2014 

*If a BSL-3 laboratory is not available, a BSL-2 laboratory may be used if the following requirements are met: 

( A risk assessment determines that viable strains of M. tuberculosis can safely be worked with in the separate, closed BSL-2 laboratory using BSL-3 practices,
( Laboratory exhaust air is exhausted to the outside of the building,
( The laboratory director approves the practice.
Participant Compliance

Please tick appropriatelyl the statement that applies to your laboratory: 

       Meets all of the above recommendations for a BSL-3 laboratory 

       No BSL-3 laboratory is available but meets all of the laboratory requirements as described above for a BSL-2 laboratory with BSL-3 practices 

       No BSL-3 laboratory is available and does not meet all of the laboratory requirements as described above for a BSL-2 laboratory
The undersigning Laboratory representative warrants and represents that the information provided above is current, complete and accurate. The Laboratory acknowledges and understands the potential risks associated with manipulation of live cultures of M. tuberculosis and will work with these isolates under the appropriate biosafety containment as determined by our institutional policies and procedures. Use of the isolates and derived material will be confined to quality management systems practices, to include verification, validation, panel and proficiency testing, and not research and development.
Requestor representative:
	Name:


	

	Title:


	

	Date


	

	Signature

	


Please return signed copy to:
PT Scheme Manager

National TB Reference Laboratory Uganda

P.o.Box 16041 Kampala Uganda

Email: fkangave@gmail.com and info@ntrl.or.ug 
Cc: kasulegw@gmail.com
cc. anitahkaturamu@gmail.com

Tel: +256- 414-236 250
FOR OFFICIAL USE ONLY
	Reviewed by

Signature/Date
	Approved by

Signature/Date

	
	


Page 1 of 3

